## Summary
THE WORLD SPA APARTMENT OWNERS ASSOCIATION
Summary of Proposed Valuation
As per list of assets VS As per insured policy
Valuation as per last year FOR FY 2024-25 | [6 empty] | 1738097
S. No. | Locations | Covered Areas, in Sqmtrs | Area in Sqft
1 | Towers | 154717 | 1665373.788
2 | Villas | 6758 | 72743.112
3 | Community hall | 2073
4 | EWS | 1579
5 | Shops | 412
6 | Basements -1,-2 both | 35211.24
| Total | 200750.24 | 1738116.9
Annex | Particulars | Proposed Valuation Amount in Rs. As per list | Insured Amount As per Existing Insurance policy | Present Rates | Valuation Aprox
A | Value of the Building | 5990361890 | 6155224997 | 3446.4666 | 5989550837.4 |  |  | 3080
A1 | Value of P&F | 599036189 |  |  | 598955083.74
B | Value of the P&M | 143379302.31 | 150054584 |  | 143379302.31
C | Value of Contents | 63860524.2235 |  |  | 63860524.2235
D | Money in Safe | 1000000 | 1000000 |  | 1000000
E | Money in transit | 300000 | 70 Lakh |  | 300000
| CGL- | 10 CR | 10 CR
| D&O | 10 CR | 10 CR
| Total | 6797937905.5335 | 6305279581 |  | 6797045747.6735 | 434173082 | 7.054%
Additional, |  |  |  |  | 100000000
6935807539.1
Note:- Surveyor cost at the end of Insurance company
A valuation survey will be carried out with in 45 day'

## Annexure-A Value of Buildings
THE WORLD SPA APARTMENT OWNERS ASSOCIATION
LIST OF ASSETS | [5 empty] | Earlier Rate up to 01.04.2023
BUILDING VALUE | [9 empty] | Revised on
Sr. No. | Name of Building | Unit | Covered Area | Rate 10% increased | Amount |  |  |  | Aprox | 01.04.2022
1 | Tower A₁ | Sqm | 17417 | 33000 | 574761000 | 30000 | 2700 x 10.76 | per sqmtr | 30000 | 33000
2 | Tower A₂ | Sqm | 15966 | 33000 | 526878000 | 30000
3 | Tower A₃ | Sqm | 13303 | 33000 | 438999000 | 30000
4 | Tower A₄ | Sqm | 10604 | 33000 | 349932000 | 30000
5 | Tower A₅ | Sqm | 10185 | 33000 | 336105000 | 30000
6 | Tower B₁ | Sqm | 15897 | 33000 | 524601000 | 30000
7 | Tower B₂ | Sqm | 9544 | 33000 | 314952000 | 30000
8 | Tower B₃ | Sqm | 17293 | 33000 | 570669000 | 30000
9 | Tower B₄ | Sqm | 17211 | 33000 | 567963000 | 30000
10 | Tower B₅ | Sqm | 14241 | 33000 | 469953000 | 30000
11 | Tower B₆ | Sqm | 13056 | 33000 | 430848000 | 30000
12 | Town Houses (12 nos.) | Sqm | 6758 | 33000 | 223014000 | 30000
13 | Community Cetre 1 | Sqm | 910 | 24750 | 22522500 | 22500
14 | Community Cetre 2 | Sqm | 1163 | 24750 | 28784250 | 22500
15 | EWS (64 single room flats) | Sqm | 1579 | 16500 | 26053500 | 15000
16 | Shops | Sqm | 412 | 16500 | 6798000 | 15000
17 | Total basement area (-1 & -2) | Sqm | 35211.24 | 11000 | 387323640 | 10000
18 | Boundary Wall including grill & fencing | Rmtr | 1800 | 19800 | 35640000 | 18000
19 | Main Entry Gates including guard room | nos. | 2 | 2750000 | 5500000 | 2500000
20 | Internal Road (6 meter wide) | Sqmtr | 1350 x 6 | 2420 | 17820000 | 2200
21 | Internal Path way (2 meter wide) | Sqmtr | 750 x 2 | 1320 | 1800000 | 1200
22 | U.Gnd. Fire Water Tanks (02 nos.) | 400 KL | 2 | 220000 | 440000 | 200000
23 | U.Gnd. Raw Water Tanks (02 nos.) | 400 KL | 2 | 220000 | 440000 | 200000
24 | U.Gnd. Treated Water Tanks (02 nos.) | 300 KL | 2 | 165000 | 330000 | 150000
25 | U.Gnd. Soft Water Tanks (02 nos. ) | 40 KL | 2 | 27500 | 55000 | 25000
26 | Overhead Fire Tanks (11 nos.) | 440 KL | 11 | 440000 | 4840000 | 400000
27 | Overhead domestic tanks (11 nos.) | 198 KL | 11 | 220000 | 2420000 | 200000
28 | Civil Structure for Sewage Treatment Plant | 300 KLD | 1 | 11000 | 3000000 | 10000
29 | Civil Structure for Water Treatment Plant | 30 Cu.mtr | 2 | 550000 | 1100000 | 500000
30 | Tower Roof top design of MS Bars with ACP sheets |  | 11 | 660000 | 7260000 | 600000
31 | Villas Roof top design of MS Bars with ACP sheets |  | 12 | 110000 | 1320000 | 100000
32 | Elevators (Passenger lift 680 kg, Otis) | nos. | 22 | 2970000 | 65340000 | 2700000
33 | Elevators (Service lift 1088 kg, Otis) | nos. | 10 | 3850000 | 38500000 | 3500000
34 | Diesel yard - 20KL each | nos. | 4 | 1100000 | 4400000 | 1000000
| Total Value (Rs.) |  |  |  | 5990361890
| Plinth & Foundation |  |  |  | 599036189
Remarks
1 | Construction rate for Flats / Villas includes basic original finishing, electrical fittings & sanitary items
| provided by Unitech at the time of possession. | @2800 per sqft
2 | Rate for road is calculated by considering standard layers required in making a CC Road.
3 | Water UG- Rs. 500/KL & Overhead Rs.1000/KL
4 | Other Cost on Lumpsum Basis

## Annexure-B Value of P&M
THE WORLD SPA APARTMENT OWNERS ASSOCIATION
LIST OF ASSETS
Sr. No. | Item | Details | Qty | Amount | Year of Mfg | Serial Number/ Engine No. Chasis No.
1 | DG Set | Cummins make, 1010 KVA | 3 | 27270000 | 2006-07 | SR NO. 25349080
2 | DG Set | Cummins make, 750 KVA | 2 | 13500000 | 2006-07 | SR NO. 25321025
3 | DG Set | Cummins make, 625 KVA | 1 | 5625000 | 2006-07 | SR NO. 25314798
4 | DG Set | Cummins make, 500 KVA | 1 | 4500000 | 2006-07 | SR NO. 25320858
5 | Transformer | Voltamp make, 1500 KVA | 3 | 5400000 | 2006-07 | SR NO. 9782
6 | Transformer | Voltamp make, 1250 KVA | 1 | 1500000 | 2006-07 | SR NO. 9780
7 | Control Panels | For power distribution |  | 6000000 | 2006-07 | N/A
8 | VCB Panels | Siemens , 11000 V, 630 Amp | 4 | 3500000 | 2006-07 | SR NO. N81756
9 | Power Distribution Panel for Towers & Community Centers |  | 13 | 1200000 | 2006-07 | N/A
10 | Main HT cables to connect VCBs & Transformers |  |  | 6000000 | 2006-07 | N/A
11 | Ductable Bus Bar to connect LT cables |  |  | 100000 | 2006-07 | N/A
12 | Air Coolers/Blowers | Humidin make, 69972 CMH | 4 | 5000000 | 2006-07 | N/A
13 | Cassette AC Unit | LG make, 03 ton | 10 | 1140000 | 2006-07 | MOD.NO-LTUH366DLF0
14 | Cassette AC Unit | LG make, 04 ton | 11 | 1672000 | 2006-07 | MOD.NO-TT-H488DLA0
15 | Ductable AC | Micro Cool make, 16.5 ton | 1 | 646000 | 2006-07 | N/A
16 | Ductable AC | Micro Cool make, 11 ton | 2 | 874000 | 2006-07 | SR NO. 190K03428
17 | Ductable AC | Micro Cool make, 8.5 ton | 6 | 1938000 | 2006-07 | SR NO. 200L04167
18 | Ductable AC | Micro Cool make, 7.5 ton | 6 | 1818571 | 2019-20 | N/A
19 | Ductable AC | Micro Cool make, 5 ton | 1 | 190000 | 2020-21 | N/A
20 | Ductable AC | Micro Cool make, 3 ton | 1 | 114000 | 2020-21 | N/A
21 | Split AC | Daikin make, 2 ton | 2 | 152000 | 2006-07 | SR NO. E027371
22 | Split AC | Voltas make, 1.5 ton | 2 | 114000 | 2006-07 | MOD.NO-183CY
23 | Diesel Engine Pump | Mather+Platt, 171 mᵌ HR | 2 | 600000 | 2006-07 | SR NO. 81202011/20/1
24 | Diesel Engine | Kirlosker, 99.22 KW/ 133 HP | 2 | 700000 | 2006-07 | SR NO. 6H.2410/0600020
25 | Hydrant Pump | Mather+Platt, 171 mᵌ HR | 2 | 600000 | 2006-07 | SR NO. 81201163/140/6
26 | Hydrant Pump Motor | Kirlosker, 90 KW | 2 | 600000 | 2006-07 | M/C N0-TAA101-08
27 | Sprinkler Pump | Mather+Platt, 171 mᵌ HR | 2 | 600000 | 2006-07 | SR NO. 81201163/120/2
28 | Sprinkler Pump Motor | Kirlosker, 90 KW | 2 | 600000 | 2006-07 | M/C NO-TAA101-06
29 | Jockey Pump | Mather+Platt, 16.8 mᵌ HR | 2 | 100000 | 2006-07 | N/A
30 | Jockey Pump Motor | Kirlosker, 15 KW | 2 | 100000 | 2006-07 | M/C NO-T7GAA18-31MK1
31 | Sump Pump | 3 phase, 1.5 KW | 18 | 540000 | 2006-07 | N/A
32 | Pumps for tower houses, swimming pool, fountains, waterfall, lap pool, garden, rain dance floor etc. | Installed at both (East & West) side |  | 2500000 | 2006-07 | SR .NO- 053900
33 | Sewage Treatment Plant Machineries |  | 1 | 4000000 | 2006-07 | SR.NO-5DAN001584
34 | Water treatment plant/Pump Room machineries | East & West | 2 | 12000000 | 2006-07 | SR.NO-4034581/126/40812
35 | LPG gas bank | East & West | 2 | 1500000 | 2006-07 | N/A
36 | Blower fans at basements |  | 36 | 3000000 | 2006-07 | N/A
37 | Air ducts & water pipelines for fire fighting & domestic supply |  |  | 7500000 | 2007-08 | N/A
38 | OWC System | Daily dump |  | 300000 | 2015-16 | N/A
39 | Drip Irrigation system | Netafim |  | 800000 | 2015-16 | N/A
40 | Other - Misc Items |  |  | 0
|  | Total Value (Rs.) |  | 124293571
DG set/ KVA rate is Rs. 7500
Transforemr/KVA Rate is Rs. 1200
AC/ Ton Rate is Rs. 35,000
Other Cost on lumpsum basis
S. No | Assets add in TWSAOA book | FY 2018-19 |  | Amount
1 | Computer |  |  | 84600
2 | Furniture & Fixture |  |  | 280338
3 | RO (25 Ltrs) |  |  | 20000
4 | Medical Room Equipments |  |  | 90217
5 | Technical Equipments |  |  | 1378222
6 | Battery |  |  | 189000
7 | Chairs- West side |  |  | 249738
8 | Sofa set- West side |  |  | 233866
9 | Gym Equipments |  |  | 143900
10 | Building |  |  | 148020
11 | Air purifiers Livpure |  |  | 198304
12 | Housekeeping Machinery |  |  | 43200
13 | Air Condition |  |  | 200000
14 | Assets by developer |  |  | 835
|  | Total Value (Rs.) |  | 3260240
S. No | Assets add in TWSAOA book | FY 2019-20 |  | Amount
1 | Air Condition (2) |  |  | 319940
2 | Battery |  |  | 130717
3 | CCTV Camera |  |  | 345200
4 | Coffee Table |  |  | 13491
5 | Coffee Table |  |  | 20092
6 | Composting System |  |  | 303446
7 | Ductable Air Conditioner_West |  |  | 466490
8 | Ductable Air Conditioner_West |  |  | 498500
9 | Electrical Equipment ACB Breakers |  |  | 548354
10 | Fire Alarm Door Sensor |  |  | 185000
11 | Fire Extinguisher |  |  | 85000
12 | Medical Room Equipment |  |  | 250300
13 | Pool Pumps |  |  | 208340
14 | Projector |  |  | 85312
15 | Pump Sets & Motor-Heat Pump |  |  | 96000
16 | STP Pumps & Airblower |  |  | 188080
17 | STP Pumps & Airblower |  |  | 18385
18 | Sum Pump Sets & Motors |  |  | 96800
19 | GYM Equipment |  |  | 1400000
20 | Ductable Air Conditioner_West |  |  | 800000
|  | Total Value (Rs.) |  | 6059447
S. No | Assets add in TWSAOA book | FY 2020-21 |  | Amount
1 | Bench |  |  | 57300
2 | Chairs |  |  | 100000
3 | Gym Equipments |  |  | 1370017.71
4 | Building (West) |  |  | 153300
5 | Laptop/ computers |  |  | 73661
6 | Samsung Lcd Tv |  |  | 163135.05
7 | Sound System for West Hall |  |  | 293985.51
8 | Air purification system |  |  | 815000
9 | Refrigerator- 245 Ltr. Double Door |  |  | 17200
10 | STP Pumps & Airblower |  |  | 175598.12
11 | Tab For Air Quality Index Display |  |  | 17800
12 | Electrical Equipment ACB Breakers |  |  | 2373316.12
13 | Electromagnetic Water Flow Meter- (East+West) |  |  | 80500
14 | Composting System |  |  | 299608
15 | Ductable Air Conditioner |  |  | 1675219.44
16 | Battery |  |  | 91207
17 | CCTV Camera |  |  | 314865
18 | Fixed Assets-Developer A/c |  |  | 1853
19 | GRAND TOTAL |  |  | 8073565.95
S. No | Assets add in TWSAOA book | FY 2021-22 |  | Amount
1 | CCTV Camera |  |  | 348975
2 | Oxygen Concentrator |  |  | 44643
3 | Portable Water Filteration System |  |  | 60000
4 | ANPRC, LPU & Cameras Main Gates |  |  | 180000
5 | Fire Alarm Control System Digital |  |  | 190400
6 | Housekeeping Machinery |  |  | 83800
7 | Composting System |  |  | 66803
8 | Battery |  |  | 10508
9 | Charger Car Electric vehicles |  |  | 67600
|  |  | Total | 1052729
S. No | Assets add in TWSAOA book | FY 2022-23 |  | Amount
1 | Dust Bin |  |  | 268000
2 | Telescopic ladder |  |  | 173500
3 | Housekeeping Machinery |  |  | 49300
4 | Housekeeping Machinery |  |  | 47000
5 | laptop- Technical Head |  |  | 53381.36
6 | Television Smart- Board room |  |  | 48568
|  |  | Total | 639749.36
|  | Grand Total Value (Rs.) |  | 143379302.31

## Annexure-C Value of Contents
THE WORLD SPA APARTMENT OWNERS ASSOCIATION
LIST OF ASSETS
Sr.No. | Item | Quantity | Unit | Amount
1 | Sofa Set, center table, Reception table, chair | 13 | Sets | 4251000
2 | Gym Equipments at both side |  |  | 4360000
3 | Kids play station (swing, ride, seasaw, etc) | 3 | Sets | 1962000
4 | Badminton Court | 1 | No | 81750
5 | Dual Tennis Court | 1 | No | 1800000
6 | Rain dance floor with control panel | 1 | No | 54500
7 | Open Swimming Pool | 2 | Nos | 2180000
8 | Water fall | 1 | No | 500000
9 | Fountains | 4 | Nos | 1000000
10 | Light - Basement
11 | 16 W LED Tube Lights | 1200 | Nos | 1260000
12 | 150 W Flood Light | 6 | Nos | 22890
13 | 18 W CFL | 74 | Nos | 8066
14 | Light - Common Area
15 | 75 W Garden Halopar Light | 276 | Nos | 135378
16 | 20 W / 23 W CFL Llights type | 175 | Nos | 56505.6
17 | 36 W Tube Light | 66 | Nos | 17985
18 | Boundary Lights | 150 | Nos | 137340
19 | 18 W CFL | 112 | Nos | 12208
20 | 28 W / 35 W (T5) Tube Light | 28 | Nos | 7630
21 | Light - Club
22 | 5 / 13 / 18 / 20 W CFL | 400 | Nos | 43600
23 | 8 W Copper Blast Tube Light | 8 | Nos | 2180
24 | 50 W Halgen Light | 20 | Nos | 7630
25 | 36 W Copper blast tube light | 46 | Nos | 12535
26 | 75 W Halospot Light | 40 | Nos | 17440
27 | 60 W bulb | 9 | Nos | 147.15
28 | 28 W T5 Tube Light | 8 | Nos | 2180
29 | Light - Tennis court / Badminton court,120 W LED Flood Light | 20 | Nos | 300000
30 | Light - Swimming pool
31 | 50 W Underwater Pool Light | 16 | Nos | 27904
32 | 100 W Underwater Pool Light | 17 | Nos | 46325
33 | Light Water Body, 3 W | 54 | Nos | 4708.8
34 | Light - Towers
35 | Lobby and starecase 6W LED lights | 2380 | Nos | 1173000
36 | 14 W - T5 Tube Light | 1376 | Nos | 374960
37 | 36 W Copper blast tube light | 84 | Nos | 22890
38 | 150 W Metal Halide Light | 11 | Nos | 41965
39 | SEARCH LIGHT | 4 | NOS | 7602.75
40 | HIGH PRESSURE JET | 1 | NOS | 60086.25
41 | WET & DRY VACCUM CLEANER | 2 | NOS | 50276.25
42 | SINGLE DISK SCRUBBING MACHINE | 4 | NOS | 337551.2
43 | ALLUMINIUM LADDER -6 FEET | 4 | NOS | 23838.3
44 | ALLUMINIUM LADDER -8 FEET | 1 | NOS | 7946.1
45 | ALLUMINIUM LADDER -12 FEET | 2 | NOS | 19865.25
46 | ALLUMINIUM LADDER -16 TO 28 FEET | 1 | NOS | 22293.225
47 | WALL CLOCK | 7 | NOS | 1482.4
48 | WEST BIN-100LTR (NIL KAMAL) | 25 | NOS | 59084.54
49 | SWING BIN -14X28 | 25 | PCS | 24969.72
50 | SOAP DISPENSOR | 11 | NOS | 13472.4
51 | PERFORATED WEST BIN -10X14 | 7 | NOS | 2848.17
52 | CAMERA -SONY ( M.NO.- WX7/B) | 1 | NOS | 11663
53 | CHAIR -BAR TYPE | 6 | PCS | 13979.25
54 | WATER JUG -10 LTR.(MILTON) | 3 | NOS | 1326.53
55 | INDUCTION COOKER | 2 | NOS | 6000
56 | EMERGENCY LIGHT | 2 | NOS | 3000
57 | BURNISHER /POLISHER | 1 | NOS | 196706.85
58 | DRY VACCUM CLEANER | 1 | NOS | 35877.35
59 | MOBIE HAND SET | 10 | NOS | 80000
60 | TELEPHONE SET | 32 | NOS | 25600
61 | DIESEL DENSITY | 1 | KIT | 7553.7
62 | OIL DIFFUSER- BIG | 13 | NOS | 14026.12
63 | LADDER STAND | 16 | NOS | 5918.7
64 | WOODEN TABLE | 8 | NOS | 33539.3
65 | WOODEN BENCH | 20 | NOS | 69051.5
66 | HARD DISK | 1 | NOS | 4959.5
67 | CYCLE STAND | 4 | NOS | 12517.56
68 | TROLLY - 4'X5' | 3 | NOS | 83295.62
69 | CELLING FAN-48" ( HAVELLS) | 4 | NOS | 6000
70 | PADESTAL FAN -16" ( HAVELLS) | 14 | NOS | 32278.17
71 | PADESTAL FAN - ORIENT ( FARATA) | 2 | NOS | 6758
72 | PADESTAL FAN -ORIENT -32 | 8 | NOS | 17876
73 | MICRO OVEN-LG | 1 | NOS | 10000
74 | COOLER KENSTAR | 2 | NOS | 14170
75 | TOASTER | 1 | NOS | 2561.5
76 | EXHAUST FAN -480MM( ORIENT) | 29 | NOS | 104313
77 | MOP WRINGER TROLLEY | 13 | NOS | 119558.83
78 | WALL MOUNTED FAN -16" ( HAVELLS) | 16 | PCS | 29457.25
79 | MEGA PHONE | 2 | PCS | 9618.16
80 | EXHAUST FAN -8" | 1 | NOS | 1202.27
81 | SYNTEX DUSTBIN -1100 LTR | 4 | NOS | 202222.25
82 | MONO BLOCK PUMP -0.5 HP | 1 | NOS | 3760.5
83 | MILTON THERMOSTEEL -2 LTR | 2 | PCS | 2365.3
84 | WHEEL BARROW ( MASSON TROLLY ) | 8 | PCS | 35970
85 | CELLING FAN -56" | 7 | PCS | 11406.85
86 | SEWAGE PUMP -3HP -KSB | 1 | NOS | 42848.99
87 | PANEL FOR PUMP-3HP | 1 | NOS | 5448.91
88 | PUMP - 7.5 | 1 | NOS | 10095.58
89 | SCAFF FOLDING ALUMINIUM | 1 | SET | 100000
91 | STEELL ALMIRAH /LOCKER | 15 | PCS | 151640.8
92 | IN 3301 PRINTER ( CARD PRINTING) | 1 | NOS | 96138
93 | ROPE LIGHT -30MTR -EACH | 88 | ROLL | 86328
94 | RICE LIGHT -WARM WHITE | 100 | PCS | 4360
95 | LAPTOP CHARGER | 1 | PCS | 436
96 | GODREJ SAFE | 1 | PCS | 5405.31
97 | WIFI ROUTER -DT-845 | 1 | PCS | 1721.11
98 | WIFI 1500 N-ROUTER | 1 | PCS | 2725
99 | KEYBOARD -INTEX | 1 | PCS | 291.03
100 | MOUSE -INTEX | 1 | PCS | 286.67
101 | UPS-625VA | 6 | NO | 13200
102 | HEAT CONVERTOR- FH812T ( USHA) | 15 | NOS | 35142.5374
103 | DUSTBIN-FLB-600VB-RUST | 22 | NOS | 45322.2
104 | WEIGHING SCALE | 3 | PCS | 3600
105 | WHEEL CHAIR -HANDICAP | 2 | PCS | 8066
106 | WOODEN STORE ALMIRAH -27" X106" | 1 | PCS | 22753.75
107 | WOODEN STORE ALMIRAH -72" X72" | 1 | PCS | 41202
108 | WOODEN SHOES RACK -LARGE -56"X9" | 1 | PCS | 44063.25
109 | WOODEN SHOES RACK - SMALL - 36"X3" | 1 | PCS | 10300.5
110 | MODIUM CUM MOBILE STORAGE | 2 | PCS | 15260
111 | WOODEN MAT HOLDER / RACK | 2 | PCS | 7630
112 | WHITE BOARD - NON - MAGNETIC | 2 | PCS | 3924
113 | SOFT BOARD - 3'X4' | 1 | PCS | 1962
114 | WENCH - CAST IRON | 4 | PCS | 41692.5
115 | FOOTBALL GOAL POLE | 2 | PCS | 9156
116 | LUX METER | 1 | PCS | 1316.175
117 | CAMERA -30 LED - VINTRON 700 - TVL | 4 | PCS | 27250
118 | UPS -1000VA - MICROTECK | 1 | PCS | 4796
119 | THARMOS FLASK-01 LTR | 6 | PCS | 6000
120 | CEILLING FAN -24"- 600MM- HAVELLS | 2 | PCS | 3667.85
121 | WATER DISPENSOR JAR- 20 LTR | 6 | PCS | 1200
122 | WATER DISPENSOR | 4 | PCS | 28000
123 | WATER DISPENSOR TRAY SET | 2 | PCS | 981
124 | DISPENSOR - PAPER CUP | 3 | PCS | 2400
125 | CATTLE HOT WATER- BAJAJ | 2 | PCS | 4338.2
126 | EXCAUST FAN -250MM - ORIENT | 2 | PCS | 2589.84
127 | LENVO DESKTOP -H430 | 3 | PCS | 71941.09
128 | UPS - 650VA - MICRO TECK | 14 | PCS | 32046
129 | LCD SAMSUNG -32E420 | 1 | PCS | 25070
130 | CELFROST FLAT GLASS - SHOWCASE | 1 | PCS | 140569.67
131 | CAFETERIA CHAIR - SI/FR-123-WHITE | 8 | PCS | 19374.75
132 | CAFETERIA CHAIR - SI/FR-202-WHITE | 9 | PCS | 21554.75
133 | CAFETERA FR TABLE -4'X2' | 2 | PCS | 24525
134 | CAFETERA FR ROUND TABLE -600 MM | 6 | PCS | 40098.92
135 | HP SCANER -2410 | 1 | PCS | 4251
136 | PRINTER - HP LASERJET -M- 1136 MFP | 1 | PCS | 10791
137 | WATER COOLER - BLUE STAR | 2 | PCS | 91124
138 | FLIP CHART STAND - TRIPORT | 3 | PCS | 3144.1704
139 | WHITE BOARD - -2X3 - NON MAGNETIC | 3 | PCS | 2996.2138
140 | RO PLANT - 50 LTR | 2 | PCS | 56680
141 | SINTEX ( DW) - 5000 LTR | 1 | PCS | 21249.55
142 | NOTICE BOARD ( SOFT ) | 10 | PCS | 71567.5906
143 | CHAIR MANAGER - LS/24 | 1 | PCS | 5044.52
144 | CHAIR MANAGER - LS/26 | 2 | PCS | 9701
145 | WHITE BOARD -2'x1.5' | 2 | PCS | 1744
146 | ROOM COOLER AIR AQUUARE- ZEE COOL | 1 | PCS | 6000
147 | ROOM COOLER - STEEL MODEL - CROMPTON | 1 | PCS | 6000
148 | ALMIRAH - ALU. FILE RACK -SMALL | 1 | PCS | 3858.6
149 | PLANTERS ( TOP 20"X20" XHT - 32" | 11 | NOS | 83462.39
150 | PLANTERS ( DIE 49"HT - 24" | 2 | NOS | 32097.23
151 | HAND DRIER - MODEL -24 S | 6 | NOS | 42673.5
152 | WALL MOUNTED FAN -12" -300 MM ( HAVELLS) | 2 | NOS | 3945.8
153 | MUD PUMP-3HP - 3 PHASE | 1 | NOS | 30923.1583
154 | CONSOLE DESK | 10 | NOS | 582708.768
155 | SPEEKER -8" AHUJA - 50W | 2 | NOS | 7725.92
156 | SPEEKER AMPLIFIER WITH USB - FULL RANGE , AHUJA | 1 | NOS | 10472.72
157 | SPEEKER WIRE LESS PA MICRO PHONE - AHUJA | 1 | NOS | 2728.27
158 | METAL DETECTOR HAND | 3 | NOS | 8461.125
159 | WEIGHING MACHINE | 2 | NOS | 14000
160 | CHAIR FR 309 -WHITE COLOUR | 8 | NOS | 22072.5
161 | DUSTBIN - 40LTR WITH CAP - PLASTIC | 373 | NOS | 74729.31
162 | WASTEBIN SS - 8"X12" PERFORATED | 3 | NOS | 943.94
163 | FIRE EXTINGIUSHER -4.5 KG - CO2 TYPE | 6 | NOS | 26119.67
164 | FIRE EXTINGIUSHER -4 KG - ABC TYPE | 126 | NOS | 186144.75
165 | DUSTBIN -120 LTR - GREEN | 2 | NOS | 4659.75
166 | DUSTBIN -120 LTR - RED | 2 | NOS | 4659.75
167 | DUSTBIN -120 LTR - BLUE | 2 | NOS | 4659.75
168 | DUSTBIN -120 LTR - BLACK | 2 | NOS | 4659.75
169 | SINTEX -GBRW-63-01-RED | 2 | NOS | 79461
170 | SINTEX -GBRW-63-01-BLACK | 2 | NOS | 79461
171 | SINTEX -GBRW-63-01-BLUE | 2 | NOS | 132925.5
172 | DVD -E370 SAMSUNG -2VD01RAD904291 | 1 | NOS | 2834
173 | INTEGRITY CST TREADMILL | 2 | NOS | 777409.8
174 | ADJUSTABLE WENCH -G5/G7-HOME GYM (GADJ) | 2 | NOS | 92706.68
175 | INTEGRITY CROSS TRAINER -CSX ( 01 UNIT - 2 PCS) | 1 | NOS | 246062.05
176 | LIFE FITNESS OPTIMA SERIES DUEL ADJUTABLE PULLY | 1 | NOS | 269230
177 | CHAIR BLACK | 11 | NOS | 74170.14
178 | FIRE CYLENDER TROLLY | 2 | NOS | 7630
179 | MULTIPLAY STATION | 1 | SET | 378604.96
180 | SEW SAW - MODEL - NO-NC 702 | 1 | SET | 5579.71
181 | PLAY STATION - MODEL NO-NC -422 | 1 | SET | 468464.56
182 | TYRE SWING - MODEL NO-NC 906 | 1 | PCS | 30686.77
183 | FITNESS STATION MODEL NO.NC 1205 | 1 | PCS | 78510.52
184 | ALBA ARMET CAMERA - MODEL-1092772 E | 13 | NOS | 110511.83
185 | FITNESS STATION MODEL NO.NC 1202 | 1 | NOS | 60177.81
186 | FOUR SEATER SWING - MODEL NO - AC 905 | 1 | NOS | 31483.56
187 | PLAY STATION - MODEL NO-NC -402 | 1 | SET | 438691.21
188 | UPS - 20KVA - MICROTEX - ONLINE | 1 | NOS | 186935
189 | SET TOP BOX | 3 | BOX | 5678.9
190 | OUT DOOR DAY/NIGHT IR BULLET CAMERA | 42 | PCS | 426220.52
191 | OUT DOOR CEILLING MOUNT DAY/NIGHT VANDAL DOME CAMERA | 22 | PCS | 116647.44
192 | DVR - 4264-16 CHANNEL | 4 | PCS | 104810.04
193 | MONITOR LED -19" | 4 | PCS | 42930.74
194 | UPS -3000 VA -30 MINUTES BACKUP | 2 | PCS | 45623.04
195 | PLANTERS ( DIE 4" HT 25") | 10 | PCS | 163244.94
196 | PLANTERS ( DIE 30" HT 27") | 1 | PCS | 9656.31
197 | Society Assets Insurance - Business Shield -FFF | Annex |  | 34912889.95
| Total Value (Rs.) |  |  | 63860524.2235
Grand Total Valued (Rs.)